## Slide 1: DRDC project: Dielectric detection using an active SRR sensor
Yutong Zhao
Nov 5th 2018

## Slide 2
SA
Spectrum
Sensor design
Device setup
(a)
(b)
(d)
(c)
Sample
X-Y stage
Z stage
Measure
Gaussian
Lorentzian

## Slide 3
FR-4 tester

## Slide 4
0.2mm
0.4mm
Optical image
0.6mm
0.8mm
FR-4 substrate
Copper top layer
Zoomed in imaging of 0.2 mm square
Dielectric imaging of metal (copper)

## Slide 5
1mm1mm
Dielectric square
2mm2mm
Dielectric square
Touchless
imaging
Penetration
imaging

## Slide 6
FR-4
RO-5880
Optical image
Dielectric image

## Slide 7: Long distance coupling between 2 SRRs

## Slide 8: What is coupling?
Energy exchange between two systems:
Cooperativity:
R
L
C
, and
therefore, this is not coupling
, and
therefore, this is coupling
Non-coherent coupling
Coherent coupling
1
2
1
2

## Slide 9: Why there is no Rabi-splitting?
Magnons coupling with cavity photons
Two identical SRR coupled through transmission line
Solve this problem:
 We can get the eigenvalue of

## Slide 10: Why there is not Rabi-splitting? (2)
Five solutions:
(2). one solution  no splitting
  three solutions  Rabi splitting
(1). always smaller than zero  have no physical meaning
(3). Consider the approximation (ignore dampings)
  We have:
  Corresponding to a frequency split of
Plot:
Notes: Solution of g is complicated.

## Slide 11: Calculations

## Slide 12: Next step:
Using two YIG spheres to realize the long distance coupling between magnons.

## Slide 13
5mm
4mm
1mm
L = 20mm
W = 40mm
3mm
2mm

## Slide 14: Why we are doing this research?
Cavity mediated coupling between two quantum dots
Cavity mediated coupling between two YIG film

## Slide 15
Why we are doing this research? (2)
Overlapping coefficient:

## Slide 16: What this can be useful to others